## 2026_Town_Dam_Month-to-Date_Wat
Form Completed By: | Date and Time of Check-In | Hwy 557 Ruler | Dam Ruler (N/A when Logs Out) | Is Water Level In Compliance | OOC Comment | GM Steps to Correct (new) | Weather (temperature in celsius) | Water Management Plan Period | Type of Check-In | Bay 1: TURBINES | Bay 2: 6 Logs Maximum | Bay 3: 8 Logs Maximum | Bay 4: 10 Logs Maximum | Bay 5: MECH GATE MAX 9 Logs | Bay 1 After change: TURBINES | Bay 2 After change: 6 Logs Maximum | Bay 3 after change: 8 Logs Maximum | Bay 4 after change: 10 Logs Maximum | Bay 5 after change: MECH GATE MAX 9 Logs | Dam Ruler After Log Changes | WATER TEMPERATURE if required
Zoran | 2026-07-08 11:24 a.m. |  | 0.6575 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-07-08 9:17 a.m. | 0.66 |  | YES |  |  | 23 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-07-07 3:40 p.m. |  | 0.64 | YES |  |  | 28 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out | 0.64
Zoran | 2026-07-07 11:25 a.m. |  | 0.65 | YES |  |  | 26 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-07-06 9:12 a.m. | 0.64 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Colin | 2026-07-05 6:46 a.m. | 62.5 |  | YES |  |  | 15 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Colin | 2026-07-04 6:38 a.m. | 62 |  | YES |  |  | 20 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-07-03 3:03 p.m. | .615 (.61-.62) |  | YES |  |  | 30 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Colin | 2026-07-03 1:33 p.m. |  | 61 | YES |  |  | 28 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | 61
Colin | 2026-07-03 9:27 a.m. | 61 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Greg | 2026-07-02 4:04 p.m. |  | 60 | YES |  |  | 28 sunny | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Greg | 2026-07-02 3:47 p.m. | Fluctuating between 59-61, holding more at 60 |  | Yes, but need to provide additional information regarding Water Levels | Will get town dam ruler and make adjustments accordingly |  | 28 sunny | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Greg | 2026-07-02 11:37 a.m. |  | 60 | YES |  |  | 25 overcast | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Danny | 2026-07-02 9:48 a.m. |  | 0.58 | YES |  |  | 22 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 3 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Greg | 2026-07-02 9:26 a.m. | Fluctuating 59-59.5 |  | No, but only 557 checked so far |  |  | 23 overcast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 3 Logs Out
Colin | 2026-06-30 9:34 a.m. | 64.5 |  | YES |  |  | 24 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Greg | 2026-06-29 1:39 p.m. |  | 63 | YES |  |  | 22 rain | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Colin | 2026-06-29 9:46 a.m. | 64.5 |  | YES |  |  | 23 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-28 9:37 a.m. | 0.645 |  | YES |  |  | 18 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-26 4:13 p.m. |  | 0.63 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-26 9:29 a.m. | 0.64 |  | No, but only 557 checked so far |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Jason | 2026-06-26 3:57 a.m. | 64-65 |  | YES |  |  | 25 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-25 12:46 p.m. |  | 0.63 | YES |  |  | 15 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-25 9:19 a.m. | 0.635 |  | Yes, but need to provide additional information regarding Water Levels | currently forecasting ~10mm rain this afternoon at 90%, but no action yet as forecast appears to be changing rapidly from yesterday to present as well (this AM last reported ~5mm this afternoon, so increasing rain amounts again at this time./ds ) |  | 17 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-24 11:55 a.m. |  | 0.63 | Yes, but need to provide additional information regarding Water Levels | Forecasting 80% chance of 10mm of rain for tomorrow. |  | 18 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | 0.63
Zoran | 2026-06-24 9:27 a.m. | 0.635 |  | YES |  |  | 18 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Colin | 2026-06-23 2:33 p.m. | 63 |  | YES |  |  | 26 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Dana | 2026-06-23 12:17 p.m. | .635 (.63-.64) |  | YES |  |  | 22c; 60% chance of 1-3mm Thursday now. | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Zoran | 2026-06-23 11:37 a.m. |  | 0.63 | YES |  |  | 22 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | 0.635
Zoran | 2026-06-23 9:23 a.m. | 0.635 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-22 11:34 a.m. |  | 0.64 | Yes, but need to provide additional information regarding Water Levels | Upstream log pull completed today. |  | 22 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | 0.635
Zoran | 2026-06-22 9:22 a.m. | 0.635 |  | YES |  |  | 18 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Dana | 2026-06-21 8:37 a.m. | Holding .6375-.64 |  | Yes, but need to provide additional information regarding Water Levels | Forecast change has pushed forecasted rain to later in the week (starting Wed). Will continue to target holding between .63-.65 for the start of the week, until closer to forecasted larger rain accumulation, and/or until additional flow from upstream arrives. Will increase checks as needed to track and trend faster changing conditions when needed, drawing down further when needed for flow increases, or forecasted rains increase to include heavy rain especially if after ground saturation. |  | 16C | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Dana | 2026-06-20 8:08 a.m. | .6375-.64 |  | YES |  |  | 9C, sunny | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-06-19 11:47 a.m. |  | 0.635 | YES |  |  | 18 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Zoran | 2026-06-19 9:17 a.m. | 0.645 |  | YES |  |  | 14 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Jason | 2026-06-18 2:01 p.m. |  | 64 | YES |  |  | 17 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | 64
Dana | 2026-06-18 11:40 a.m. | .645 (.64-.65) |  | YES |  |  | 16, heavy rain last night | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-06-18 9:14 a.m. | .64-.65 |  | YES |  |  | 14 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Jason | 2026-06-17 12:07 p.m. |  | 62 | YES |  |  | 16 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-06-17 9:29 a.m. | 0.63 |  | YES |  |  | 15 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-06-16 3:29 p.m. | 0.63 |  | YES |  |  | 21 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Jason | 2026-06-16 11:47 a.m. |  | 62 | YES |  |  | 16 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Jason | 2026-06-16 9:27 a.m. | 63 |  | YES |  |  | 16 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out
Zoran | 2026-06-15 12:15 p.m. |  | 0.62 | YES |  |  | 17 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | .5 Logs Out | 0.62
Zoran | 2026-06-15 9:45 a.m. | 0.62 |  | YES |  |  | 14 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out
Colin | 2026-06-14 7:54 a.m. |  | 62 | YES |  |  | 14 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1 Log Out | 62
Colin | 2026-06-14 7:37 a.m. | 62.5 |  | YES |  |  | 12 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Colin | 2026-06-13 7:37 a.m. |  | 62.5 | YES |  |  | 15 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Greg | 2026-06-12 11:29 a.m. | 63 |  | YES |  |  | 15 overcast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2.5 Logs Out
Dana | 2026-06-12 6:28 a.m. | .64 (.635-.645/.65) |  | Yes, but need to provide additional information regarding Water Levels | Drew down as last night and a few nights prior had larger amounts of rain forecasted. Will monitor levels and close mechanical gate as needed to maintain levels in higher end of compliance (compliance range is .60 to .66 for summer, to Sep 30). Once level returns to a decline after rain, we will begin closing gate to hold, which will bring level back up slightly. Only Mechanical gate is spilling water at the dam at this time. |  | 16C, heavier rain just stopped from last night, 40% <-mm this afternoon | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2.5 Logs Out
Colin | 2026-06-11 3:50 p.m. |  | Just shy of 64 | YES |  |  | 24 | Jun. 1 to Sep. 30 | ONSITE only Headpond | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 2.5 Logs Out
Colin | 2026-06-11 2:43 p.m. | 64 |  | YES |  |  | 25 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Colin | 2026-06-11 11:17 a.m. |  | 64 | YES |  |  | 19 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | 64
Colin | 2026-06-11 9:18 a.m. | 64-65 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Colin | 2026-06-10 12:15 p.m. |  | 64.5 | YES |  |  | 25 | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 1 Log Out | 1 Log Out | 1.5 Logs Out
Colin | 2026-06-10 9:28 a.m. | 64 |  | YES |  |  | 22 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Greg | 2026-06-09 11:57 a.m. |  | 63 | YES |  |  | 23 sunny | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Greg | 2026-06-09 9:22 a.m. | 65 |  | YES |  |  | 21 overcast | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Greg | 2026-06-08 12:33 p.m. |  | 64-64.5 on ruler | YES |  |  | 25 sunny | Jun. 1 to Sep. 30 | ONSITE both Headpond & Powerhouse | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out
Zoran | 2026-06-08 9:28 a.m. | .645-.65 |  | YES |  |  | 19 | Jun. 1 to Sep. 30 | RULER only 557 bridge |  | 1 Log Out | 1 Log Out | 1 Log Out | 2 Logs Out