## 2025_Town_Dam_Month-to-Date_Wat
Form Completed By: | Date and Time of Check-In | Type of Check-In | Hwy 557 Ruler | Dam Ruler (N/A when Logs Out) | Is Water Level In Compliance | Which Ruler is in Compliance? | Weather (temperature in celsius) | WATER TEMPERATURE if required | Water Management Plan Period | Bay 1: TURBINES | Bay 2: 6 Logs Maximum | Bay 3: 8 Logs Maximum | Bay 4: 10 Logs Maximum | Bay 5: MECH GATE MAX 9 Logs | Bay 1 After change: TURBINES | Bay 2 After change: 6 Logs Maximum | Bay 3 after change: 8 Logs Maximum | Bay 4 after change: 10 Logs Maximum | Bay 5 after change: MECH GATE MAX 9 Logs | OOC Comment | Dam Ruler After Log Changes
Zoran | 2025-05-27 16:16 | ONSITE both Headpond & Powerhouse |  | 0.655 | YES | Dam and 557 rulers | 22 | 16 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3.5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | NO LOGS OUT | 4 Logs Out |  | 0.65
Zoran | 2025-05-27 14:19 | RULER only 557 bridge | 0.69 |  | YES | 557 ruler | 23 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3.5 Logs Out
Colin | 2025-05-26 13:19 | ONSITE both Headpond & Powerhouse |  | 67 | YES | Dam and 557 rulers | 21 | 15 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3.5 Logs Out
Colin | 2025-05-26 09:12 | RULER only 557 bridge | 69 |  | YES | 557 ruler | 13 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3 Logs Out
Colin | 2025-05-25 07:59 | RULER only 557 bridge | 66.5 |  | YES | 557 ruler | 10 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3 Logs Out
Colin | 2025-05-24 07:13 | RULER only 557 bridge | 65 |  | YES | 557 ruler | 9 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3 Logs Out
Colin | 2025-05-23 13:16 | ONSITE both Headpond & Powerhouse |  | 61 | YES | Dam and 557 rulers | 13 | 13 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | NO LOGS OUT | 4 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | NO LOGS OUT | 3 Logs Out
Colin | 2025-05-23 11:59 | RULER only 557 bridge | 64 |  | YES | 557 ruler | 11 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | NO LOGS OUT | 4 Logs Out
Greg | 2025-05-22 14:36 | ONSITE both Headpond & Powerhouse |  | 62 | YES | Dam ruler | 12 overcast | 13 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | NO LOGS OUT | NO LOGS OUT - GATE CLOSED | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | NO LOGS OUT | 4 Logs Out |  | 62
Colin | 2025-05-22 12:15 | RULER only 557 bridge | 64-65 wavy |  | YES | 557 ruler | 11 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | NO LOGS OUT | 4 Logs Out
Greg | 2025-05-22 09:42 | ONSITE only Headpond |  | 61 | YES | Dam ruler | 11 overcast | 13 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | NO LOGS OUT | 4 Logs Out |  | 62
Dana | 2025-05-22 06:45 | RULER only 557 bridge | 0.655 (.645-.665) |  | YES | 557 ruler | 7C |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Greg | 2025-05-21 15:59 | ONSITE both Headpond & Powerhouse |  | 62 | YES | Dam and 557 rulers | 12 overcast | 12 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Greg | 2025-05-21 15:27 | RULER only 557 bridge | Bouncing between 65-66 with wind |  | YES | 557 ruler | 12 overcast |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Dana | 2025-05-21 07:45 | RULER only 557 bridge | 0.655 (.65-.66) |  | YES | 557 ruler | 9C |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Colin | 2025-05-20 09:23 | RULER only 557 bridge | 66 |  | YES | 557 ruler | 10 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Dana | 2025-05-19 10:31 | RULER only 557 bridge | 0.67 |  | YES | 557 ruler | 6C |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Dana | 2025-05-18 09:36 | RULER only 557 bridge | 0.67 (0.66-.068) |  | YES | 557 ruler | 6C |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Dana | 2025-05-17 09:37 | RULER only 557 bridge | 0.67 |  | YES | 557 ruler | 12 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Zoran | 2025-05-16 11:57 | RULER only 557 bridge | 0.655 |  | YES | 557 ruler | 18 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Dana | 2025-05-16 05:50 | RULER only 557 bridge | 0.655 |  | YES | 557 ruler | 14, just had a couple hours of rain. |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | NO LOGS OUT - GATE CLOSED
Zoran | 2025-05-15 12:47 | ONSITE both Headpond & Powerhouse |  | 0.53 | YES | 557 ruler | 19 | 13 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | 5 Logs Out | 3 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | 5 Logs Out | GATE CLOSED = NO LOGS OUT |  | 0.55
Zoran | 2025-05-15 12:23 | RULER only 557 bridge | 0.615 |  | YES | 557 ruler | 19 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | 3 Logs Out
Zoran | 2025-05-15 10:05 | ONSITE only Headpond |  | 0.43 | YES | 557 ruler | 18 | NA | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 1 Log Out | 3 Logs Out | 5 Logs Out | 7 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | 5 Logs Out | 3 Logs Out |  | 0.5
Dana | 2025-05-14 18:18 | RULER only 557 bridge | 0.66 |  | YES | 557 ruler | 18 |  | Apr. 1 to May 31 *Take Water Temp* |  | 1 Log Out | 3 Logs Out | 5 Logs Out | 7 Logs Out
Colin | 2025-05-14 15:53 | ONSITE only Headpond |  | 43 | YES | 557 ruler | 17 | 13 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 5 Logs Out | Both OFF = NO LOGS OUT | 1 Log Out | 3 Logs Out | 5 Logs Out | 7 Logs Out |  | 45
Zoran | 2025-05-14 15:35 | RULER only 557 bridge | 0.66 |  | YES | 557 ruler | 17 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 5 Logs Out
Colin | 2025-05-14 12:16 | RULER only 557 bridge | 66.5 |  | YES | 557 ruler | 17 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 7 Logs Out
Zoran | 2025-05-14 10:04 | ONSITE both Headpond & Powerhouse |  | 37 | YES | 557 ruler | 16 | 11 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 7 Logs Out | Both OFF = NO LOGS OUT | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 5 Logs Out |  | 0.43
Dana | 2025-05-14 09:23 | RULER only 557 bridge | 0.67 |  | YES | 557 ruler | 15 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 6 Logs Out
Dana | 2025-05-13 06:11 | RULER only 557 bridge | .695-.70 |  | YES | 557 ruler | 5C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 7 Logs Out
Dana | 2025-05-12 16:50 | RULER only 557 bridge | 0.71 |  | YES | 557 ruler | 21C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 7 Logs Out
Colin | 2025-05-12 10:23 | RULER only 557 bridge | 71 |  | YES | 557 ruler | 19 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 7 Logs Out
Greg | 2025-05-12 09:25 | ONSITE both Headpond & Powerhouse |  | 44 | YES | 557 ruler | 15 sunny | 12 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 6 Logs Out | Both OFF = NO LOGS OUT | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 7 Logs Out |  | 41
Dana | 2025-05-12 06:10 | RULER only 557 bridge | 0.71 |  | YES | 557 ruler | 1C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 6 Logs Out
Dana | 2025-05-11 08:43 | RULER only 557 bridge | 0.7 |  | YES | 557 ruler | 6C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 6 Logs Out
Matt | 2025-05-09 14:10 | ONSITE only Headpond |  |  | NO |  | 19c | 10c | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 5 Logs Out | 9 Logs Out (MAX) | Both OFF = NO LOGS OUT | 6 Logs Out (MAX) | 3 Logs Out | 5 Logs Out | 6 Logs Out | Regulating water. | 27
Colin | 2025-05-09 14:01 | RULER only 557 bridge | 61 |  | YES | 557 ruler | 20 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 5 Logs Out | 9 Logs Out (MAX)
Matt | 2025-05-09 09:42 | ONSITE only Headpond |  | ? | NO |  | 13c | 9C (9:45 a.m). | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX) | Both OFF = NO LOGS OUT | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 5 Logs Out | 9 Logs Out (MAX) | Trying to regulate. | 0.5
Dana | 2025-05-09 06:59 | RULER only 557 bridge | .62 (.615-.625); notified of a high water complaint yesterday from Duborne resident. Almost at minimum compliance though, so looking to start closing dam up as upstream water is choked at Cataract Falls. |  | YES | 557 ruler | -2C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Dana | 2025-05-08 06:20 | RULER only 557 bridge | 0.66 |  | YES | 557 ruler | -2 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Matt | 2025-05-07 11:50 | ONSITE only Headpond |  | ? | YES | 557 ruler | 14c | 11c | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-07 11:26 | RULER only 557 bridge | 69-70 |  | YES | 557 ruler | 11 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-07 09:11 | RULER only 557 bridge | 69-70 |  | YES | 557 ruler | 9 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Matt | 2025-05-06 11:28 | ONSITE only Headpond |  | ? | YES | 557 ruler | 13c | 11c | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Matt | 2025-05-06 11:08 | RULER only 557 bridge | 71 |  | YES | 557 ruler | 18 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Dana | 2025-05-06 04:36 | RULER only 557 bridge | .71-.72, up to 3mm rain possible today. |  | YES | 557 ruler | 11C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Dana | 2025-05-05 07:09 | RULER only 557 bridge | .735 (.73-.74) |  | YES | 557 ruler | 8 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-04 07:15 | RULER only 557 bridge | Slowly moving between 74-75 |  | YES | 557 ruler | 1 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-03 08:38 | RULER only 557 bridge | 75 |  | YES | 557 ruler | 5 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-02 15:30 | RULER only 557 bridge | 73 |  | YES | 557 ruler | 10 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-02 11:56 | RULER only 557 bridge | 73 |  | YES | 557 ruler | 6 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-02 09:44 | ONSITE both Headpond & Powerhouse |  | Below zero | YES | 557 ruler | 8 | 8 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Dana | 2025-05-02 07:29 | RULER only 557 bridge | .73 (.725-.735 w/current) |  | YES | 557 ruler | 5C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Dana | 2025-05-01 18:48 | RULER only 557 bridge | .72 (dips to .71 w/current) |  | YES | 557 ruler | 4C |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-01 15:38 | RULER only 557 bridge | 71 |  | YES | 557 ruler | 6 |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Colin | 2025-05-01 09:42 | ONSITE both Headpond & Powerhouse |  | Below zero | YES | 557 ruler | 8 | 7 | Apr. 1 to May 31 *Take Water Temp* | NO LOGS OUT = Both Off | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)
Dana | 2025-05-01 06:43 | RULER only 557 bridge | .71-.715 |  | YES | 557 ruler | -2, ~25mm rain in next 24hrs possible |  | Apr. 1 to May 31 *Take Water Temp* |  | 6 Logs Out (MAX) | 8 Logs Out (MAX) | 10 Logs Out (MAX) | 9 Logs Out (MAX)